## Summary-PUC-2013-2021
ENERGY- MAHE 2013-2021
Year | Available Capacity |  |  |  | Fuel Consumption |  | Energy Production | [5 empty] | Energy |  |  | Technical + Non-Technical Losses |  | Peak Demand | Thermal Plant efficiency | Renewable Energy | Increase / Decrease
| Diesel | Wind | Solar PV | Total | LFO | HFO | LFO | HFO | Wind | Solar | Renewable | Total | Station Usage | Sent Out | Sold | [5 empty] | Total Production | Energy Sent out
| kW | kW | kW | kW | Litres | Litres | kWh | kWh | kWh | kWh |  | kWh | kWh | kWh | kWh | kWh | % | kW | % | % | % | %
2013 | 69500 | 6000 | 0 | 75500 | 417390 | 71011498 | 1383094 | 306345004 | 6951050 | 0 | 6951050 | 314679148 | 9931845 | 304747303 | 273038833 | 31708470 | 10.4048 | 49900 | 41.2342 | 2.2089 | Base | Base
2014 | 69500 | 6000 | 645 | 76145 | 181265 | 72099648 | 610498 | 313464712 | 7090810 | 393398 | 7484208 | 321559418 | 10573404 | 310986014 | 278843458 | 32142556 | 10.3357 | 50900 | 41.5797 | 2.3275 | 2.1864 | 2.0472
2015 | 69500 | 6000 | 1115 | 76615 | 306818 | 74509574 | 1012450 | 323871385 | 6795420 | 1295909 | 8091329 | 332975164 | 10856743 | 322118421 | 287251462 | 34866959 | 10.8243 | 53200 | 41.5573 | 2.43 | 3.5501 | 3.5797
2016 | 85500 | 6000 | 1710 | 93210 | 179434 | 80704838 | 561600 | 351586215 | 6856893 | 1904530 | 8761423 | 360909238 | 10838316 | 350070922 | 324147578 | 25923344 | 7.4052 | 56900 | 41.6604 | 2.4276 | 8.3892 | 8.6777
2017 | 85500 | 6000 | 2106 | 93606 | 122282 | 82515694 | 383627 | 362943269 | 6616620 | 2378554 | 8995174 | 372322070 | 10844995 | 361477075 | 336471769.63 | 25005305.37 | 6.9175 | 58900 | 39.7949 | 2.416 | 3.1622 | 3.2582
2018 | 85500 | 6000 | 3290 | 94790 | 157857 | 84100068 | 551974 | 365606600 | 7392410 | 2919796 | 10312206 | 376470780 | 10806383 | 365664397 | 341674601 | 23989796 | 6.5606 | 58400 | 39.3357 | 2.7392 | 1.1143 | 1.1584
2019 | 85500 | 6000 | 3640 | 95140 | 162997 | 88191028 | 532750 | 384215952 | 4884428 | 3409690 | 8294118 | 393042820 | 11766192 | 381276628 | 354283272 | 26993356 | 7.0797 | 60000 | 39.4164 | 2.1102 | 4.4019 | 4.2696
2020 | 85500 | 6000 | 4860 | 96360 | 114888 | 88436223 | 396599 | 384036200 | 5985764 | 4992858 | 10978622 | 395411421 | 12178693 | 383232728 | 360991086 | 22241642 | 5.8037 | 61500 | 39.294 | 2.7765 | 0.60263 | 0.51304
2021 | 85500 | 6000 | 11400 | 102900 | 129600 | 87102737 | 441733 | 378887853 | 5078618 | 12572219 | 17650837 | 396980423 | 12000107 | 384980316 | 363267008 | 21713308 | 5.6401 | 59500 | 39.3594 | 4.4463 | 0.3968 | 0.45601
ENERGY- PRASLIN 2013-2021
Year | Available Capacity |  |  | Fuel Consumption |  | Energy Production |  |  | Energy |  |  | Technical + Non-Technical Losses |  | Peak Demand | Thermal Plant Efficiency | Renewable Energy | Increase /Decrease
| Diesel | Solar PV | Total | LFO |  | LFO | Solar PV | Total | Station Use | Sent Out | Sold | [5 empty] | Total Prod. | Energy Sent out
| kW | KW | KW | Litres |  | kWh | kWh | kWh | kWh | kWh | kWh | kWh | % | kW | % | % | % | kW
2013 | 12800 | 0 | 12800 | 10796541 |  | 39545503 | 0 | 39545503 | 929315 | 38616188 | 33780444 | 4835744 | 12.5226 | 7250 | 37.4602 | 0 | Base | Base
2014 | 13800 | 120 | 13920 | 11204306 |  | 40806376 | 77805 | 40884181 | 932578 | 39873798 | 33737751 | 6136047 | 15.3887 | 8060 | 37.2478 | 0.19031 | 3.3852 | 3.2567
2015 | 16300 | 239 | 16539 | 12269651 |  | 44411393 | 245295 | 44656688 | 1493907 | 42917486 | 36969996 | 5947490 | 13.858 | 7700 | 37.0186 | 0.54929 | 9.2273 | 7.6333
2016 | 16300 | 347 | 16647 | 12893104 |  | 48366687 | 394510 | 48761197 | 1107807 | 46864370 | 41736760 | 5127610 | 10.9414 | 8200 | 38.053 | 0.80907 | 9.1913 | 9.1964
2017 | 16300 | 523 | 16823 | 13677902 |  | 50902992 | 603211 | 51506203 | 1178606 | 50327597 | 45023696.72 | 5303900.28 | 10.5388 | 8680 | 38.059 | 1.1711 | 5.6295 | 7.3899
2018 | 16300 | 604 | 16904 | 13685281 |  | 50737907 | 615017 | 51352924 | 1347084 | 50005840 | 44358770 | 5647070 | 11.2928 | 9050 | 37.9253 | 1.1976 | -0.29759 | -0.63933
2019 | 16300 | 738 | 17038 | 14684368 |  | 54262320 | 623149 | 54885469 | 1280308 | 52358863 | 46056670 | 6302193 | 12.0365 | 9880 | 36.9185 | 1.1354 | 6.879 | 4.7055
2020 | 16300 | 794 | 17094 | 12513446 |  | 45696625 | 726338 | 46422963 | 952293 | 44744332 | 41030104 | 3714228 | 8.301 | 9470 | 37.495 | 1.5646 | -15.4185 | -14.543
2021 | 19300 | 1013 | 20313 | 12318190 |  | 44789357 | 970701 | 45760058 | 960089 | 44620118 | 38390814 | 6229304 | 13.9608 | 8690 | 36.7521 | 2.0852 | -1.428 | -0.27761
ENERGY SUMMARY- PUC 2013-2021
Year | Available Capacity |  |  |  | Fuel Consumption |  | Energy Production | [5 empty] | Energy |  |  |  | Overall Peak Demand | Increase/Decrease |  |  | Renewable Energy Share
| Diesel | Wind | Solar PV | Total | LFO | HFO | LFO | HFO | Wind | Solar PV | Total | Station Use | Sent Out | Sold | Technical + Non-Technical Losses |  |  | Total Prod. | Energy Sent out | Energy Sold
| kW | kW | kW | kW | Litres | Litres | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | % | kW | % | % | % | %
2013 | 82300 | 6000 | 0 | 88300 | 11213931 | 71011498 | 40928597 | 306345004 | 6951050 | 0 | 354224651 | 10861160 | 343363491 | 306819277 | 36544214 | 10.643 | 57150 | Base | Base | Base | 1.9623
2014 | 83300 | 6000 | 765 | 90065 | 11385571 | 72099648 | 41416874 | 313464712 | 7090810 | 471203 | 362443599 | 11505982 | 350937617 | 312581209 | 38356408 | 10.9297 | 58960 | 2.3203 | 2.2059 | 1.878 | 2.0864
2015 | 85800 | 6000 | 1354 | 93154 | 12576469 | 74509574 | 45423843 | 323871385 | 6795420 | 1541204 | 377631852 | 12350650 | 365281202 | 324221458 | 41059744 | 11.2406 | 60900 | 4.1905 | 4.0872 | 3.7239 | 2.2076
2016 | 101800 | 6000 | 2057 | 109857 | 13072538 | 80704838 | 48928287 | 351586215 | 6856893 | 2299040 | 409670435 | 11946123 | 397724312 | 365884338 | 31839974 | 8.0055 | 65100 | 8.4841 | 8.8817 | 12.8501 | 2.235
2017 | 101800 | 6000 | 2629 | 110429 | 13800184 | 82515694 | 51286619 | 362943269 | 6616620 | 2981765 | 423828273 | 12023601 | 411804672 | 381495466.35 | 30309205.65 | 7.3601 | 67580 | 3.4559 | 3.5402 | 4.2667 | 2.2647
2018 | 101800 | 6000 | 3894 | 111694 | 13843138 | 84100068 | 51289881 | 365606600 | 7392410 | 3534813 | 427823704 | 12153467 | 415670237 | 386033371 | 29636866 | 7.1299 | 67450 | 0.9427 | 0.93869 | 1.1895 | 2.5541
2019 | 101800 | 6000 | 4378 | 112178 | 14847365 | 88191028 | 54795070 | 384215952 | 4884428 | 4032839 | 447928289 | 13046500 | 434881789 | 400339942 | 34541847 | 7.9428 | 69880 | 4.6993 | 4.6218 | 3.706 | 1.9908
2020 | 101800 | 6000 | 5654 | 113454 | 12628334 | 88436223 | 46093224 | 384036200 | 5985764 | 5719196 | 441834384 | 13130986 | 428703398 | 402021190 | 26682208 | 6.2239 | 70970 | -1.3605 | -1.4207 | 0.41996 | 2.6492
2021 | 104800 | 6000 | 12413 | 123213 | 12447790 | 87102737 | 45231090 | 378887853 | 5078618 | 13542920 | 442740481 | 12960196 | 429780285 | 401657822 | 28122463 | 6.5435 | 68190 | 0.20508 | 0.2512 | -0.090385 | 4.206

## Energy-Mahe-2021
Energy Production- Mahe 2013-2021
Year | Energy Centres | Available Service Capacity | Safe Gen. Capacity | Peak Demand | LFO Cons. | HFO Consumed | Energy Produced LFO | Energy Production HFO | Total Energy Production | Station Use | Energy Sent Out | Load Factor | Heat Rate | Prod. Eff | Station Usage | Increase in kWh output | Incease in Peak Load | Remarks
|  | kW | kW | kW | l | l | kWh | kWh | kWh | kWh | kWh | % | kJ/kWh | % | % | % | %
2013 | New Port | 11500 |  |  | 351686 | 8053949 | 1131398 | 33555420 | 34686818 | 2177755 | 32509063 |  | 9093.5688 | 39.5884 | 6.2783 | Base Year | Base Year | Renewable energy production 2.21 % of total production
| Roche Caiman | 58000 |  |  | 65704 | 62957549 | 251696 | 272789584 | 273041280 | 7754090 | 265287190 |  | 8684.5076 | 41.4531 | 2.8399
| Total | 69500 | 53500 | 49900 | 417390 | 71011498 | 1383094 | 306345004 | 307728098 | 9931845 | 297796253 | 70.3984 | 8730.6166 | 41.2342 | 3.2275
| Wind Farm | 6000 | [6 empty] | 6951050 | 130000 | 6821050 |  |  |  |  | Base Year
| Total -PUC | 75500 | 53500 | [5 empty] | 314679148
| PV-Third Party | 0 | [6 empty] | 0
| Renewable Energy | 6000 | [6 empty] | 6951050
| Total Energy Production | [7 empty] | 314679148 | 10061845 | [7 empty] | 2.2089
2014 | New Port | 11500 |  |  | 83935 | 7941242 | 258460 | 33651430 | 33909890 | 2148994 | 31760896 |  | 8898.915 | 40.4544 | 6.3374 | -2.2398 |  | Renewable energy production 2.33 % of total production
| Roche Caiman | 58000 |  |  | 97330 | 64158406 | 352038 | 279813282 | 280165320 | 8272410 | 271892910 |  | 8628.931 | 41.7201 | 2.9527 | 2.6091
| Total | 69500 | 53500 | 50900 | 181265 | 72099648 | 610498 | 313464712 | 314075210 | 10421404 | 303653806 | 70.4388 | 8658.0805 | 41.5797 | 3.3181 | 2.0626 | 2.004
| Wind Farm | 6000 | [6 empty] | 7090810 | 150000 | 6940810 |  |  |  |  | 2.0106
| Total PUC | 75500 | 53500 | [5 empty] | 321166020 | 10571404 | 310594616 |  |  |  |  | 2.0614
| PV-Third Party | 645 | [6 empty] | 393398 | 2000 | 391398
| Renewable Energy | 6645 | [6 empty] | 7484208 |  | 7332208 |  |  |  |  | 7.6702
| Total Energy Production | [7 empty] | 321559418 | 10573404 | 310986014 |  |  |  |  | 2.1864 |  | 2.3275
2015 | New Port | 11500 |  |  | 152632 | 7664577 | 423150 | 32307510 | 32730660 | 2150913 | 30579747 |  | 8975.3536 | 40.1098 | 6.5716 | -3.4775 |  | Renewable energy production 2.43 % of total production
| Roche Caiman | 58000 |  |  | 154186 | 66844997 | 589300 | 291563875 | 292153175 | 8573830 | 283579345 |  | 8627.7257 | 41.7259 | 2.9347 | 4.2789
| Total | 69500 | 53500 | 53200 | 306818 | 74509574 | 1012450 | 323871385 | 324883835 | 10724743 | 314159092 | 69.7128 | 8662.7477 | 41.5573 | 3.3011 | 3.4414 | 4.5187
| Wind Farm | 6000 | [6 empty] | 6795420 | 130000 | 6665420 |  |  |  |  | -4.1658
| Total PUC | 75500 | 53500 | [5 empty] | 331679255 | 10854743 | 320824512 |  |  |  |  | 3.2735
| PV-Third Party | 1115 | [6 empty] | 1295909 | 2000 | 1293909 |  |  |  |  | 229.4142
| Renewable Energy | 7115 | [6 empty] | 8091329 |  | 7959329 |  |  |  |  | 8.112
| Total Energy Production | [7 empty] | 332975164 | 10856743 | 322118421 |  |  |  |  | 3.5501 |  | 2.43
2016 | New Port | 11500 |  |  | 142665 | 5199516 | 419190 | 21728015 | 22147205 | 1906316 | 20240889 |  | 9060.5142 | 39.7328 | 8.6075 | -32.335 |  | Renewable energy production 2.43 % of total production
| Roche Caiman | 74000 |  |  | 36769 | 75505322 | 142410 | 329858200 | 330000610 | 8802000 | 321198610 |  | 8613.1602 | 41.7965 | 2.6673 | 12.9547
| Total | 85500 | 69500 | 56900 | 179434 | 80704838 | 561600 | 351586215 | 352147815 | 10708316 | 341439499 | 70.6494 | 8641.2951 | 41.6604 | 3.0409 | 8.3919 | 6.9549
| Wind Farm | 6000 | [6 empty] | 6856893 | 130000 | 6726893 |  |  |  |  | 0.90462
| Total PUC | 91500 | 69500 | [5 empty] | 359004708 | 10838316 | 348166392 |  |  |  |  | 8.2385
| PV-Third Party | 1710 | [6 empty] | 1904530 | 2000 | 1902530 |  |  |  |  | 46.9648
| Renewable Energy | 7710 | [6 empty] | 8761423 |  | 8629423 |  |  |  |  | 8.2816
| Total Energy Production | [7 empty] | 360909238 | 10840316 | 350068922 | 70.2998 |  |  |  | 8.3892 |  | 2.4276
2017 | New Port | 11500 |  |  | 75452 | 6173371 | 225327 | 26076479 | 26301806 | 2020295 | 24281511 |  | 9438.3356 | 38.1423 | 7.6812 | 18.759 |  | Renewable energy production 2.42 % of total production
| Roche Caiman | 74000 |  |  | 46830 | 76342323 | 158300 | 336866790 | 337025090 | 8694700 | 328330390 |  | 9015.8091 | 39.9299 | 2.5798 | 2.1286
| Total | 85500 | 69500 | 58900 | 122282 | 82515694 | 383627 | 362943269 | 363326896 | 10714995 | 352611901 | 70.4171 | 9046.3965 | 39.7949 | 2.9491 | 3.1745 | 3.5149
| Wind Farm | 6000 | [6 empty] | 6616620 | 130000 | 6486620 |  |  |  |  | -3.5041
| Total PUC | 91500 | 69500 | [5 empty] | 369943516 | 10844995 | 359098521 |  |  |  |  | 3.047
| PV-Third Party | 2106 | [6 empty] | 2378554 | 2000 | 2376554 |  |  |  |  | 24.8893
| Renewable Energy | 8106 | [6 empty] | 8995174 |  | 8863174 |  |  |  |  | 2.668
| Total Energy Production | [7 empty] | 372322070 | 10846995 | 361475075 | 70.3036 |  |  |  | 3.1622 |  | 2.416
2018 | New Port | 11500 |  |  | 97210 | 6127518 | 312674 | 25550280 | 25862954 | 2008622 | 23854332 |  | 9557.7161 | 37.6659 | 7.7664 | -1.6685 |  | Renewable energy production 2.74 % of total production
| Roche Caiman | 74000 |  |  | 60647 | 77972550 | 239300 | 340056320 | 340295620 | 8657761 | 331637859 |  | 9121.1664 | 39.4686 | 2.5442 | 0.97041 |  |  |  | 0.95
| Total | 85500 | 69500 | 58400 | 157857 | 84100068 | 551974 | 365606600 | 366158574 | 10666383 | 355492191 | 71.5735 | 9152.0013 | 39.3357 | 2.9131 | 0.77937 | -0.8489
| Wind Farm | 6000 | [6 empty] | 7392410 | 140000 | 7252410 |  |  |  |  | 11.7249
| Total PUC | 91500 | 69500 | [5 empty] | 373550984 | 10806383 | 362744601 |  |  |  |  | 0.97514
| PV-Third Party | 3290 | [6 empty] | 2919796 | 2000 | 2917796 |  |  |  |  | 22.7551
| Renewable Energy | 9290 | [6 empty] | 10312206 |  | 10170206 |  |  |  |  | 14.6415
| Total Energy Production | [7 empty] | 376470780 | 10808383 | 365662397 | 70.4927 |  |  |  | 1.1143 |  | 2.7392
2019 | New Port | 11500 |  |  | 123318 | 6804197 | 384734 | 28256132 | 28640866 | 2129529 | 26511337 |  | 9602.7978 | 37.4891 | 7.4353 | 10.7409 |  | Renewable energy production 2.11 % of total production
| Roche Caiman | 74000 |  |  | 39679 | 81386831 | 148016 | 355959820 | 356107836 | 9494663 | 346613173 |  | 9095.4794 | 39.5801 | 2.6662 | 4.6466
| Total | 85500 | 69500 | 60000 | 162997 | 88191028 | 532750 | 384215952 | 384748702 | 11624192 | 373124510 | 73.2018 | 9133.2444 | 39.4164 | 3.0212 | 5.0771 | 2.7397
| Wind Farm | 6000 | [6 empty] | 4884428 | 140000 | 4744428 |  |  |  |  | -33.9264 | [5 empty] | 4.3425 | 4.1254 | 9.7573
| Total PUC | 91500 | 69500 | [5 empty] | 389633130 | 11764192 | 377868938 |  |  |  |  | 4.3052
| PV-Third Party | 3640 | [6 empty] | 3409690 | 2000 | 3407690 |  |  |  |  | 16.7784
| Renewable Energy | 9640 | [6 empty] | 8294118 |  | 8152118 |  |  |  |  | -19.5699
| Total Energy Production | [7 empty] | 393042820 | 11766192 | 381276628 | 70.9911 |  |  |  | 4.4019 |  | 2.1102 | [5 empty] | MJ | g/MJ | kG | kWh | kG/kWh
2020 | New Port | 11500 |  |  | 66591 | 7464655 | 198519 | 31224250 | 31422769 | 2560956 | 28861813 |  | 9524.9134 | 37.7956 | 8.15 | 9.7131 |  | Renewable energy production 2.78 % of total production | HFO | 2020 | 80971568 | 0.9697 | 40.21 | 3157213986.7768 | 78.4 | 247525576.5633 | 352811950 | 0.70158
| Roche Caiman | 74000 |  |  | 48297 | 80971568 | 198080 | 352811950 | 353010030 | 9474737 | 343535293 |  | 9129.3642 | 39.4332 | 2.684 | -0.86991 |  |  | HFO | 2019 | 88191028 | 0.95 | 40.2 | 3368015359.32 | 78.4 | 264052404.1707 | 384215952 | 0.68725
| Total | 85500 | 69500 | 61500 | 114888 | 88436223 | 396599 | 384036200 | 384432799 | 12035693 | 372397106 | 71.3578 | 9161.6956 | 39.294 | 3.1308 | -0.082106 | 2.5 |  | HFO | 2018 | 84100068 | 0.95 | 40.2 | 3211781596.92 | 78.4 | 251803677.1985 | 365606600 | 0.68873
| Wind Farm | 6000 | [6 empty] | 5985764 | 140000 | 5845764 |  |  |  |  | 22.5479 |  |  |  |  | 7464655 | 0.9697 | 40.2 | 290986733.3307 | 78.4 | 22813359.8931 | 31224250 | 0.73063
| Total PUC | 91500 | 69500 | [5 empty] | 390418563 | 12175693 | 378242870 |  |  |  |  | 0.20158 |  |  | LFO-P | 2020 | 12513446 | 0.8381 | 42 | 440475801.8892 | 74.8 | 32947589.9813 | 45696625 | 0.72101
| PV-Third Party | 4860 | [6 empty] | 4992858 | 3000 | 4989858 |  |  |  |  | 46.4314 |  |  | LFO-M | 2020 | 114888 | 0.8381 | 42 | 4044080.5776 | 74.8 | 302497.2272 | 396599 | 0.76273
| Renewable Energy | 10860 | [6 empty] | 10978622 |  | 10835622 |  |  |  |  | 32.3664 | [11 empty] | 0.74187
| Total Energy Production | [7 empty] | 395411421 | 12178693 | 383232728 | 71.1911 |  |  |  | 0.60263 |  | 2.7765
2021 | New Port | 11500 |  |  | 83820 | 6839620 | 255563 | 28137247 | 28392810 | 2382370 | 26010440 |  | 9687.122 | 37.1627 | 8.3908 | -9.6426 |  | Renewable energy production 4.45 % of total production | HFO | 2020 | 80263117 | 0.9697 | 40.21 | 3129590322.5525 | 78.4 | 245359881.2881 | 350750606 | 0.69953
| Roche Caiman | 74000 |  |  | 45780 | 80263117 | 186170 | 350750606 | 350936776 | 9474737 | 341462039 |  | 9102.7392 | 39.5485 | 2.6998 | -0.58731 |  |  | HFO | 2019 | 88436223 | 0.95 | 40.2 | 3377379356.37 | 78.4 | 264786541.5394 | 384036200 | 0.68948
| Total | 85500 | 69500 | 59500 | 129600 | 87102737 | 441733 | 378887853 | 379329586 | 11857107 | 367472479 | 72.7773 | 9146.4802 | 39.3594 | 3.1258 | -1.3275 | -3.252 |  | HFO | 2018 | 88191028 | 0.95 | 40.2 | 3368015359.32 | 78.4 | 264052404.1707 | 384215952 | 0.68725
| Wind Farm | 6000 | [6 empty] | 5078618 | 140000 | 4938618 |  |  |  |  | -15.1551 |  |  |  |  | 6839620 | 0.9697 | 40.2 | 266621656.4628 | 78.4 | 20903137.8667 | 28137247 | 0.7429
| Solar Farm kWp | 6000 | [6 empty] | 6403205 | 44000 | 6359205 |  |  |  |  | Base Year
| Total PUC | 97500 | 69500 | [5 empty] | 390811409 | 11997107 | 378814302 |  |  |  |  | 0.10062 |  |  | LFO-P | 2020 | 12513446 | 0.8381 | 42 | 440475801.8892 | 74.8 | 32947589.9813 | 45696625 | 0.72101
| PV-Third Party | 5400 | [6 empty] | 6169014 | 3000 | 6166014 |  |  |  |  | 23.5568 |  |  | LFO-M | 2020 | 129600 | 0.8381 | 42 | 4561945.92 | 74.8 | 341233.5548 | 441733 | 0.77249
| Renewable Energy | 17400 | [6 empty] | 17650837 |  | 17463837 |  |  |  |  | 60.7746 | [11 empty] | 0.74675
| Total Energy Production |  |  | 59500 | 129600 | 87102737 | 441733 | 378887853 | 396980423 | 12000107 | 384980316 | 76.1637 | 8739.8026 |  |  | 0.3968 |  | 4.4463

## Energy-Praslin-2021
Energy Production- Praslin 2013-2021
Year | Energy Centres | Rated Installed Capacity | Available Service Capacity | Peak Demand | Safe Gen. Capacity | Light Fuel Oil Consumed | Energy Production | Station Use | Energy Sent Out | Load Factor | Heat Rate | Efficiency | Increase/Decrease in |  |  |  | Remarks
[13 empty] | Station Use | Energy Prod. | Peak Demand | Solar PV Prod.
|  | kW | kW | kW | kW | litres | kWh | kWh | kWh | % | kJ/kWh | % | % | % | % | %
2013 | BSA | 12800 | 9800 | 7250 | 2930 | 10796541 | 39545503 | 929315 | 38616188 | 62.2666 | 9610.2053 | 37.4602 | 2.35 | Base Year |  |  | 1x1000 kW -M6 -Cummins set added
2014 | BSA | 13800 | 10800 | 8060 | 3780 | 11204306 | 40806376 | 932578 | 39873798 | 57.7948 | 9665.0046 | 37.2478 | 2.2854 | 3.1884 | 10.2041 | 0.19031 | Lemuria on Line
| Solar PV | 120 |  |  |  |  | 77805 | [9 empty] | Renewable energy 0.19% of the total energy produced
| Total | 13920 | 10800 | 8060 | 3780 | 11204306 | 40884181 | 932578 | [5 empty] | 3.3852
2015 | BSA | 16300 | 13300 | 7700 | 8900 | 12269651 | 44411393 | 1493907 | 42917486 | 65.8415 | 9724.8508 | 37.0186 | 3.3638 | 8.8344 | 23.1481 | 0.54929 | Set 5P of 2,500 installed
| Solar PV | 239 |  |  |  |  | 245295 | [9 empty] | Renewable energy 0.55% of the total energy produced
| Total | 16539 | 13300 | 7700 | 8900 | 12269651 | 44656688 | 1493907 | [5 empty] | 9.2273 |  |  |  | 0
2016 | BSA | 16300 | 13300 | 8200 | 8900 | 12893104 | 47972177 | 1107807 | 46864370 | 66.7839 | 9460.4804 | 38.053 | 2.3093 | 8.0177 | 6.4935 | 0.81566 | Renewable energy 0.82% of the total energy produced
| Solar PV | 347 |  |  |  |  | 394510
| Total | 16647 | 13300 | 8200 | 8900 | 12893104 | 48366687 | 1107807 | 47258880 | 67.3331 | 9383.3146 | 38.366 | 2.2904 | 8.3078
2017 | BSA | 16300 | 13300 | 8680 | 8900 | 13677902 | 50902992 | 1178606 | 49724386 | 66.9452 | 9571.08 | 37.6133 | 2.3154 | 6.1094 | 5.8537 | 1.1711 | Renewable energy 1,17% of the total energy produced
| Solar PV | 523 |  |  |  |  | 603211
| Total | 16823 | 13300 | 8680 | 8900 | 13677902 | 51506203 | 1178606 | 50327597 | 67.7385 | 9347.7068 | 38.059 | 2.2883 | 6.4911
2018 | BSA | 16300 | 13300 | 9050 | 8900 | 13685281 | 50737907 | 1347084 | 49390823 | 64 | 9607.4015 | 37.4711 | 2.655 | -0.32431 | 4.2627 | 1.1976 | Renewable energy 1,20% of the total energy produced
| Solar PV | 604 |  |  |  |  | 615017
| Total | 16904 | 13300 | 9050 | 8900 | 13685281 | 51352924 | 1347084 | 50005840 | 64.7758 | 9380.666 | 37.9253 | 2.6232 | -0.29759
2019 | BSA | 16300 | 13300 | 9880 | 8900 | 14684368 | 53639171 | 1280308 | 52358863 | 61.9756 | 9751.198 | 36.9185 | 2.3869 | 5.7181 | 9.1713 | 1.1617 | Renewable energy 1,15% of the total energy produced
| Solar PV | 738 |  |  |  |  | 623149
| Total | 17038 | 13300 | 9880 | 8900 | 14684368 | 53639171 | 1280308 | 52358863 | 61.9756 | 9636.478 | 36.9185 | 2.3869 | 4.452
2020 | BSA | 16300 | 13300 | 9470 | 8900 | 12482184 | 45586721 | 952293 | 44744332 | 54.9521 | 9752.9724 | 36.9118 | 2.089 |  |  |  | Renewable energy 1,56% of the total energy produced
| La Digue | 0 | 0 |  |  | 31262 | 109904 |  |  |  |  | 35.5316
| Total | 16300 | 13300 | 9470 | 8900 | 12513446 | 45696625 | 952293 | 44744332 |  |  | 36.9084 | 2.0839 | -14.8074 | -4.1498
| Solar PV Praslin | 794 |  |  |  |  | 726338 | [8 empty] | 1.5646
| SolarPV La Digue | 185
| Total | 17094 | 13300 | 9470 | 8900 | 12513446 | 46422963 | 952293 | 45470670 | 55.9601 | 9488.3173 | 37.495 | 2.0513 | -13.4532
2021 | BSA | 17300 | 14000 | 8690 | 9500 | 12286928 | 44679453 | 960089 | 43829268 | 58.6927 | 9795.3563 | 36.7521 | 2.1488 |  |  |  | Renewable energy 1,56% of the total energy produced
| La Digue | 2000 | 1600 | 0 | 1000 | 31262 | 109904 | 1000 |  |  |  | 35.5316
| Total | 19300 | 15600 | 8690 | 10500 | 12318190 | 44789357 |  | 43829268 |  |  | 36.749 | 0 | -3.519 | -8.2365
| Solar PV Praslin | 822 |  |  |  |  | 790850 | [8 empty] | 1.7351
| SolarPV La Digue | 191 |  |  |  |  | 179851
| Total Solar | 1013 |  |  |  |  | 970701
| Total | 20122 | 15600 | 8690 | 10500 | 12318190 | 45580207 | 960089 | 44620118 | 59.8759 | 9512.9614 | 37.3979 | 2.1064 | -1.8154

## Statistics- Mahe-2011-2021
Energy- Mahe 2011-2020
Year | Available Capacity |  |  |  |  | Fuel Consumption |  | Energy Production | [7 empty] | Energy Used | Energy Sent Out | Energy Sold | Peak Load | Plant efficiency | T& D+ Commercial Losses | Increase / Decrease |  |  |  | Share of Renewable Energy production
| Diesel | Wind | Solar PV-PUC | Solar PV-Pvt. | Total | LFO | HFO | LFO | HFO | Wind | Solar-PUC | Solar Third Party | By Fossil Fuel | Renewable Sources | Total Energy Produced | Station | To T & D Network | To Customers |  |  |  | Peak Load | Prod. | Energy Sent out | Energy Sales
| kW | kW | kW | kW | kW | Litres | Litres | kWh | kWh | kWh |  | kWh | kWh | kWh |  | kWh | kWh | kWh | kW | % | % | % | % | % | % | %
2011 | 69500 | 0 | 0 | 0 | 69500 | 2635266 | 64945269 | 8869831 | 277561069 | 0 |  | 0 | 286430900 | 0 | 286430900 | 9817611 | 276613289 | 248323504 | 44800 | 40.6512 | 10.2272 | Base | Base | Base | Base | 0
2012 | 69500 | 0 | 0 | 0 | 69500 | 823352 | 69303545 | 1882036 | 294865991 | 0 |  | 0 | 296748027 | 0 | 296748027 | 9348903 | 287399124 | 256981998 | 46500 | 40.5161 | 10.5836 | 3.7946 | 3.602 | 3.8992 | 3.4868 | 0
2013 | 69500 | 6000 | 0 | 0 | 75500 | 417390 | 71011498 | 1383094 | 306345004 | 6951050 |  | 0 | 307728098 | 6951050 | 314679148 | 10061845 | 304617303 | 273038833 | 49900 | 41.2339 | 10.3666 | 7.3118 | 3.7001 | 5.991 | 6.2482 | 2.2089
2014 | 69500 | 6000 | 645 | 645 | 76145 | 181265 | 72099648 | 610498 | 313464712 | 7090810 |  | 393398 | 314075210 | 7484208 | 321559418 | 10573404 | 310986014 | 278843458 | 50900 | 41.5795 | 10.3357 | 2.004 | 2.0626 | 2.0907 | 2.1259 | 2.3275
2015 | 69500 | 6000 | 1115 | 1115 | 76615 | 306818 | 74509574 | 1012450 | 323871385 | 6795420 |  | 1295909 | 324883835 | 8091329 | 332975164 | 10856743 | 322118421 | 287251462 | 53200 | 41.5571 | 10.8243 | 4.5187 | 3.4414 | 3.5797 | 3.0153 | 2.43
2016 | 85500 | 6000 | 1710 | 1710 | 93210 | 179434 | 80704838 | 561600 | 351586215 | 6856893 |  | 1904530 | 352147815 | 8761423 | 360909238 | 10840316 | 350068922 | 324147578 | 56900 | 41.6603 | 7.4046 | 6.9549 | 8.3919 | 8.6771 | 12.8445 | 2.4276
2017 | 85500 | 6000 | 2106 | 2106 | 93606 | 122282 | 82515694 | 383627 | 362943269 | 6616620 |  | 2378554 | 363326896 | 8995174 | 372322070 | 10844995 | 361477075 | 336471769.63 | 58900 | 39.7948 | 6.9175 | 3.5149 | 3.1745 | 3.2588 | 3.802 | 2.416
2018 | 85500 | 6000 | 3290 | 3290 | 94790 | 157857 | 84100068 | 551974 | 365606600 | 7392410 |  | 2919796 | 366158574 | 10312206 | 376470780 | 10808383 | 365662397 | 341674601 | 58400 | 39.3356 | 6.5601 | -0.8489 | 0.77937 | 1.1578 | 1.5463 | 2.7392
2019 | 85500 | 6000 | 3640 | 3640 | 95140 | 162997 | 88191028 | 532750 | 384215952 | 4884428 |  | 3409690 | 384748702 | 8294118 | 393042820 | 11766192 | 381276628 | 354283272 | 60000 | 39.4164 | 7.0797 | 2.7397 | 5.0771 | 4.2701 | 3.6903 | 2.1102
2020 | 85500 | 6000 | 4860 | 4860 | 96360 | 114888 | 88436223 | 396599 | 384036200 | 5985764 |  | 4992858 | 384432799 | 10978622 | 395411421 | 12178693 | 383232728 | 360991086 | 61500 | 39.294 | 5.8037 | 2.5 | -0.082106 | 0.51304 | 1.8933 | 2.7765
2021 | 85500 | 6000 | 6000 | 5400 | 102900 | 129600 | 87102737 | 441733 | 378887853 | 5078618 | 6403205 | 6169014 | 379329586 | 17650837 | 396980423 | 2382370 | 394598053 | 363267008 | 59500 | 39.3593 | 7.94 | -3.252 | -1.3275 | 2.9656 | 0.63046 | 4.4463

## Statistics- Praslin-2013-2021
Energy- Praslin 2013-2020
Year | Available Capacity |  |  | Fuel Consumption | Energy Production |  |  | Energy Used | Energy Sent Out | Energy Sold |  |  | T & D + Com. Losses | Increase /Decrease |  |  |  | Share of Renewable Energy prod.
| Diesel | Solar PV | Total | LFO | LFO | Solar PV | Total | Station Use | To T& D network | To Customers | Peak Demand | Plant efficiency |  | Peak Load | Energy Prod. | Energy Sent out | Energy Sales
| kW | KW | KW | Litres | kWh | kWh | kWh | kWh | kWh | kWh | kW | % | % | % | % | % | % | %
2013 | 12800 | 0 | 9800 | 10796541 | 39545503 | 0 | 39545503 | 929315 | 38616188 | 33780444 | 7250 | 37.4602 | 12.5226 | Base | Base | Base | Base | Base
2014 | 10800 | 120 | 10920 | 11204306 | 40806376 | 77805 | 40884181 | 932578 | 39873798 | 33737751 | 8060 | 37.2478 | 15.3887 | 11.1724 | 3.3852 | 3.2567 | -0.12638 | 0.19031
2015 | 13300 | 239 | 13539 | 12269651 | 44411393 | 245295 | 44656688 | 1493907 | 42917486 | 36969996 | 7700 | 37.0186 | 13.858 | -4.4665 | 9.2273 | 7.6333 | 9.5805 | 0.54929
2016 | 13300 | 347 | 13647 | 12893104 | 48366687 | 394510 | 48761197 | 1107807 | 46864370 | 41736760 | 8200 | 38.053 | 10.9414 | 6.4935 | 8.0177 | 9.1964 | 12.8936 | 0.80907
2017 | 13300 | 523 | 13823 | 13677902 | 51506203 | 603211 | 52109414 | 1178606 | 50327597 | 45023696.72 | 8680 | 38.059 | 10.5388 | 5.8537 | 6.1094 | 7.3899 | 7.8754 | 1.1576
2018 | 13300 | 604 | 13904 | 13685281 | 50737907 | 615017 | 51352924 | 1347084 | 50005840 | 44358770 | 9050 | 37.9253 | 11.2928 | 4.2627 | -0.29759 | -0.63933 | -1.4768 | 1.1976
2019 | 13300 | 738 | 14038 | 14684368 | 53639171 | 623149 | 54262320 | 1280308 | 52358863 | 46056670 | 9880 | 36.9185 | 12.0365 | 9.1713 | 5.7181 | 4.7055 | 3.8277 | 1.1484
2020 | 13300 | 794 | 14094 | 12513446 | 45696625 | 726338 | 46422963 | 952293 | 44744332 | 41030104 | 9470 | 37.495 | 8.301 | -4.1498 | -13.4532 | -14.543 | -10.9139 | 1.5646
2021 | 15600 | 1013 | 16613 | 12318190 | 45580207 | 970701 | 46550908 | 960089 | 44620118 | 38390814 | 8690 | 36.7521 | 13.9608 | -8.2365 | -1.8154 | -0.27761 | -6.4326 | 2.0852